Laboratory
Date and hour beginning of measurements
Date and hour end of measurements
Information of the system
	Local			Traveling
4-character BIPM code				--
Receiver maker and type Receiver serial number				Septentrio PolaRx5TR
1 PPS trigger level /V				1
Antenna cable maker and type Phase stabilized cable (Y/N)				LMR-LW400 Times Microwave Systems
Cable length outside building /m				80 (estimated)
Antenna maker and type Antenna serial number				Novatel GNSS 750 / 10200001
Temperature if stabilized /°C				-
Measured delays / ns
	Local				Traveling
Delay from local UTC to receiver 1 PPS-in (XP = [meas b) - meas a) -0.1 ns])
Delay from 1 PPS-in to internal Reference (if different): / XO = [ meas c) - meas a)]
Antenna cable delay (Xc)					328.7 ± 0.5
Splitter delay	-				-
Additional cable delay	-				-
Data used for the generation of CGGTTS files
	Local					Traveling
INT DLY (GPS) /ns
INT DLY (Galileo) /ns
CAB DLY /ns					328.7
REF DLY /ns
Coordinate reference frame
Latitude or X /m
Longitude or Y /m
Height or Z /m
General Information
Rise time of local UTC pulse
Air conditioning (Y/N)
Set temperature value and uncertainty
Set humidity value and uncertainty